## Sheet1
Feeder Description | From Bus | To Bus | Voltage (V) | Power Factor | Efficiency (%) | Derating Factor | Load KW | Load KVA | Breaker Type | Cable Type | Installation Method | Ambient Temp (°C) | Ground Temp (°C) | Length (m)
feeder_1 | from_1 | to_1 | 11000 | 0.86 | 91.7 | 0.83 | 95.7 | 254.6 | VCB | EPR | Cable Tray | 45 | 40 | 85.4
feeder_2 | from_2 | to_2 | 415 | 0.8 | 90.9 | 0.88 | 491.3 | 290.3 | MCCB | XLPE | Cable Tray | 35 | 45 | 179.5
feeder_3 | from_3 | to_3 | 11000 | 0.83 | 87.7 | 0.86 | 263.2 | 386.6 | ACB | XLPE | Direct Burial | 30 | 45 | 37.9
feeder_4 | from_4 | to_4 | 11000 | 0.84 | 90.6 | 0.81 | 137.8 | 31.4 | VCB | XLPE | Conduit | 30 | 40 | 107.5
feeder_5 | from_5 | to_5 | 415 | 0.9 | 88.8 | 0.84 | 498.2 | 497.3 | ACB | PVC | Cable Tray | 45 | 35 | 54.3
feeder_6 | from_6 | to_6 | 415 | 0.89 | 94.7 | 0.84 | 483.1 | 240.3 | MCCB | PVC | Direct Burial | 45 | 40 | 120.4
feeder_7 | from_7 | to_7 | 11000 | 0.92 | 93.5 | 0.9 | 283.6 | 147 | ACB | PVC | Conduit | 40 | 45 | 174
feeder_8 | from_8 | to_8 | 690 | 0.83 | 92.2 | 0.91 | 442.5 | 442.9 | ACB | PVC | Direct Burial | 30 | 30 | 177.3
feeder_9 | from_9 | to_9 | 11000 | 0.86 | 87.4 | 0.82 | 102.5 | 376.4 | ACB | PVC | Cable Tray | 40 | 30 | 55
feeder_10 | from_10 | to_10 | 11000 | 0.83 | 87.6 | 0.95 | 146.6 | 477 | ACB | EPR | Cable Tray | 45 | 40 | 182.5
feeder_11 | from_11 | to_11 | 11000 | 0.91 | 85.4 | 0.84 | 353.2 | 172.1 | MCCB | EPR | Cable Tray | 45 | 45 | 122.5
feeder_12 | from_12 | to_12 | 11000 | 0.86 | 92.1 | 0.95 | 424.9 | 280.9 | ACB | PVC | Direct Burial | 35 | 30 | 76.5
feeder_13 | from_13 | to_13 | 415 | 0.83 | 86.1 | 0.86 | 429.6 | 290.4 | ACB | XLPE | Direct Burial | 30 | 45 | 144.6
feeder_14 | from_14 | to_14 | 11000 | 0.89 | 89.4 | 0.8 | 208.2 | 490.4 | VCB | PVC | Cable Tray | 40 | 40 | 101.5
feeder_15 | from_15 | to_15 | 690 | 0.8 | 87 | 0.85 | 445 | 46.9 | ACB | EPR | Direct Burial | 45 | 30 | 81.8
feeder_16 | from_16 | to_16 | 415 | 0.93 | 94 | 0.9 | 427 | 159.8 | VCB | EPR | Cable Tray | 45 | 45 | 144
feeder_17 | from_17 | to_17 | 690 | 0.87 | 89.8 | 0.9 | 468.5 | 103.5 | MCCB | XLPE | Cable Tray | 40 | 30 | 57.3
feeder_18 | from_18 | to_18 | 690 | 0.86 | 90.6 | 0.88 | 394.8 | 141.6 | MCCB | EPR | Conduit | 35 | 40 | 72.7
feeder_19 | from_19 | to_19 | 690 | 0.94 | 92 | 0.87 | 337.8 | 247.8 | MCCB | PVC | Direct Burial | 45 | 45 | 92.5
feeder_20 | from_20 | to_20 | 690 | 0.91 | 86.4 | 0.88 | 294.5 | 192.6 | MCCB | XLPE | Cable Tray | 30 | 30 | 58.2
feeder_21 | from_21 | to_21 | 415 | 0.85 | 91 | 0.89 | 192.4 | 203.4 | VCB | PVC | Cable Tray | 45 | 40 | 87
feeder_22 | from_22 | to_22 | 415 | 0.89 | 90.4 | 0.81 | 470.7 | 423.7 | ACB | PVC | Direct Burial | 30 | 30 | 118.6
feeder_23 | from_23 | to_23 | 690 | 0.88 | 87 | 0.86 | 487.1 | 465.7 | MCCB | XLPE | Conduit | 40 | 30 | 150.8
feeder_24 | from_24 | to_24 | 690 | 0.94 | 94.4 | 0.84 | 149.1 | 44.5 | ACB | PVC | Conduit | 30 | 35 | 155.8
feeder_25 | from_25 | to_25 | 415 | 0.93 | 91 | 0.92 | 159.6 | 112.4 | VCB | EPR | Cable Tray | 40 | 35 | 166.3
feeder_26 | from_26 | to_26 | 415 | 0.91 | 91.9 | 0.87 | 248 | 338.9 | VCB | PVC | Direct Burial | 30 | 40 | 151.4
feeder_27 | from_27 | to_27 | 415 | 0.88 | 93.8 | 0.95 | 229.7 | 185.7 | VCB | XLPE | Conduit | 40 | 35 | 139.4
feeder_28 | from_28 | to_28 | 11000 | 0.89 | 91.2 | 0.86 | 497.3 | 134.5 | MCCB | XLPE | Direct Burial | 30 | 40 | 55.1
feeder_29 | from_29 | to_29 | 11000 | 0.94 | 88 | 0.92 | 96.2 | 154.7 | ACB | XLPE | Direct Burial | 35 | 35 | 86
feeder_30 | from_30 | to_30 | 11000 | 0.89 | 86.1 | 0.92 | 18.9 | 168 | ACB | PVC | Cable Tray | 30 | 30 | 100.8
feeder_31 | from_31 | to_31 | 690 | 0.84 | 89.6 | 0.82 | 252 | 425.8 | ACB | XLPE | Conduit | 30 | 40 | 25.7
feeder_32 | from_32 | to_32 | 11000 | 0.84 | 87.2 | 0.88 | 97.6 | 76.9 | VCB | XLPE | Cable Tray | 35 | 40 | 110.4
feeder_33 | from_33 | to_33 | 690 | 0.82 | 89.2 | 0.9 | 189.6 | 357.4 | MCCB | PVC | Conduit | 45 | 30 | 92.9
feeder_34 | from_34 | to_34 | 690 | 0.8 | 93.8 | 0.93 | 374.6 | 280.9 | VCB | EPR | Conduit | 45 | 40 | 162.4
feeder_35 | from_35 | to_35 | 11000 | 0.86 | 88.2 | 0.85 | 363.3 | 155.3 | VCB | PVC | Conduit | 30 | 40 | 195.8
feeder_36 | from_36 | to_36 | 690 | 0.86 | 86.2 | 0.83 | 160.9 | 215.7 | ACB | XLPE | Conduit | 35 | 35 | 115.6
feeder_37 | from_37 | to_37 | 11000 | 0.84 | 88.6 | 0.91 | 275.8 | 135.5 | VCB | XLPE | Conduit | 30 | 40 | 71.3
feeder_38 | from_38 | to_38 | 11000 | 0.8 | 94.1 | 0.92 | 259.3 | 309.6 | ACB | PVC | Direct Burial | 40 | 45 | 18.2
feeder_39 | from_39 | to_39 | 415 | 0.83 | 87.7 | 0.85 | 321.8 | 50 | MCCB | EPR | Cable Tray | 40 | 30 | 185.7
feeder_40 | from_40 | to_40 | 11000 | 0.91 | 91.5 | 0.81 | 132.7 | 12.5 | ACB | XLPE | Direct Burial | 30 | 35 | 184.6
feeder_41 | from_41 | to_41 | 415 | 0.92 | 85 | 0.94 | 299 | 317.7 | MCCB | XLPE | Conduit | 45 | 35 | 58.1
feeder_42 | from_42 | to_42 | 11000 | 0.89 | 88.5 | 0.86 | 489.7 | 105.2 | ACB | XLPE | Cable Tray | 45 | 45 | 142.1
feeder_43 | from_43 | to_43 | 11000 | 0.94 | 88 | 0.88 | 248.5 | 44.8 | VCB | PVC | Conduit | 30 | 30 | 24.3
feeder_44 | from_44 | to_44 | 415 | 0.9 | 86.6 | 0.93 | 454 | 204.4 | VCB | XLPE | Cable Tray | 30 | 30 | 41.6
feeder_45 | from_45 | to_45 | 415 | 0.94 | 90.3 | 0.9 | 222.9 | 34.9 | MCCB | EPR | Direct Burial | 40 | 35 | 51.2
feeder_46 | from_46 | to_46 | 11000 | 0.93 | 89.8 | 0.91 | 181.5 | 444.4 | MCCB | XLPE | Cable Tray | 45 | 40 | 66
feeder_47 | from_47 | to_47 | 690 | 0.87 | 91.9 | 0.83 | 326.1 | 23.5 | MCCB | XLPE | Cable Tray | 30 | 35 | 199.2
feeder_48 | from_48 | to_48 | 415 | 0.81 | 87.7 | 0.88 | 337.8 | 293.6 | ACB | EPR | Cable Tray | 40 | 30 | 142.4
feeder_49 | from_49 | to_49 | 690 | 0.86 | 87.4 | 0.9 | 433.4 | 224.9 | ACB | XLPE | Cable Tray | 45 | 45 | 83
feeder_50 | from_50 | to_50 | 690 | 0.9 | 86.7 | 0.83 | 122.8 | 339.3 | MCCB | PVC | Cable Tray | 35 | 35 | 150